## Tot Syst_Energy
TABLE A1
2013 DSM ADJUSTED TOTAL SYSTEM LOAD FORECAST
FIRST QUARTER
ENERGY SALES, NUMBER OF ACCOUNTS AND PEAK DEMAND
| POWER |  | OILFIELDS |  | COMMERCIAL |  | RESIDENTIAL |  | FARM |  | RESELLER |  | CORPORATE USE |  | TOTAL SALES |  | LOSSES | TOTAL ENERGY | CALENDAR
|  | # of |  | # of |  | # of |  | # of |  | # of |  | # of |  | # of |  | # of |  | REQUIREMENTS | PEAK DEMAND
Year | GWh | Accounts | GWh | Accounts | GWh | Accounts | GWh | Accounts | GWh | Accounts | GWh | Accounts | GWh | Accounts | GWh | Accounts | GWh | GWh | MW | Year | Energy | Demand
2002 | 5852.713 | 81 | 1970.219 | 10951 | 3080.9242 | 51963 | 2456.9199 | 300763 | 1366.869 | 67355 | 1262.796 | 2 | 125.5968 | 209 | 16116.0379 | 431324 | 1789.343 | 17905.3809 | 2800 | 2002 | 17905.3809 | 2800
2003 | 6273.9 | 85 | 2081.7966 | 11058 | 3150.5359 | 52175 | 2508.9396 | 302897 | 1441.9212 | 67025 | 1287.3123 | 2 | 122.3447 | 209 | 16866.7503 | 433451 | 1681.8 | 18548.5503 | 2805 | 2003 | 18548.5503 | 2805 | 3.592% | 0.1786%
2004 | 6504.29 | 84 | 2164.822 | 11259 | 3132.232 | 52508 | 2483.842 | 305472 | 1349.814 | 66424 | 1260.735 | 2 | 111.31 | 212 | 17007.045 | 435961 | 1790.685 | 18797.73 | 2954 | 2004 | 18797.73 | 2954 | 1.343% | 5.312%
2005 | 6552 | 78 | 2263.9 | 11508 | 3200.1 | 52604 | 2513.8 | 308221 | 1337 | 64985 | 1265.8 | 2 | 103.1216 | 212 | 17235.7216 | 437610 | 1676.4 | 18912.1216 | 2946 | 2005 | 18912.1216 | 2946 | 0.6085% | -0.2708%
2006 | 6662.4 | 78 | 2399.3 | 12045 | 3238.778 | 52869 | 2530.5 | 309551 | 1271.7 | 64601 | 1293.5 | 2 | 108.8 | 212 | 17504.978 | 439358 | 1803.5 | 19308.478 | 2960 | 2006 | 19308.478 | 2960 | 2.096% | 0.4752%
2007 | 6854.9062 | 78 | 2541.447 | 12805 | 3268.0939 | 53421 | 2642.8519 | 315507 | 1328.9725 | 63751 | 1286.8203 | 2 | 109.201 | 212 | 18032.2928 | 445776 | 1794.4 | 19826.6928 | 2969 | 2007 | 19826.6928 | 2969 | 2.684% | 0.3041%
2008 | 6552 | 78 | 2704.9872 | 13453 | 3286.9862 | 53911 | 2721.1797 | 322408 | 1305.8177 | 62553 | 1274.2428 | 2 | 109.4473 | 212 | 17954.661 | 452617 | 1882.666 | 19837.327 | 3194 | 2008 | 19837.327 | 3194 | 0.05364% | 7.578%
2009 | 6138.7434 | 82 | 2742.5051 | 14174 | 3406.8365 | 54525 | 2864.7846 | 329046 | 1338.0734 | 61993 | 1274.43 | 2 | 107.5796 | 212 | 17872.9526 | 460034 | 1875.2487 | 19748.2013 | 3231 | 2009 | 19748.2013 | 3231 | -0.4493% | 1.158%
2010 | 6926.6696 | 91 | 2871.326 | 14756 | 3390.9287 | 54945 | 2882.4103 | 334780 | 1291.5606 | 61404 | 1254.2526 | 2 | 107.1691 | 212 | 18724.3168 | 466190 | 1899.1 | 20623.4168 | 3162 | 2010 | 20623.4168 | 3162 | 4.432% | -2.136%
2011 | 7318.6504 | 97 | 2900.8276 | 15015 | 3447.46 | 55501 | 3005.9747 | 346312 | 1298.2984 | 60871 | 1260.6062 | 2 | 109.3172 | 212 | 19341.1344 | 478010 | 1916.162 | 21257.2964 | 3195 | 2011 | 21257.2964 | 3195 | 3.074% | 1.044%
2012 | 7447.664 | 100 | 3177.163 | 16446 | 3531.959 | 56605 | 2937.574 | 350499 | 1148.756 | 62063 | 1253.794 | 2 | 114.1863 | 212 | 19611.0963 | 485927 | 2137.284 | 21748.3803 | 3314 | 2012 | 21748.3803 | 3314 | 2.31% | 3.725%
2013 | 7625.7625 | 101 | 3315.636 | 17152.2859 | 3587.4665 | 56928.6064 | 2971.5666 | 356289.4316 | 1301.7407 | 60769 | 1260.4214 | 2 | 110.2577 | 212 | 20172.8514 | 491454.3239 | 1980.9531 | 22153.8044 | 3558.2912 | 2013 | 22153.8044 | 3558.2912 | 1.864% | 7.371%
2014 | 8233.5951 | 100 | 3685.6681 | 17992.4395 | 3609.2396 | 57533.8093 | 3013.4722 | 362882.0554 | 1305.251 | 60630 | 1264.1334 | 2 | 110.547 | 212 | 21221.9064 | 499352.3042 | 1931.3058 | 23153.2122 | 3685.6315 | 2014 | 23153.2122 | 3685.6315 | 4.511% | 3.579%
2015 | 8829.6953 | 105 | 3939.5607 | 19034.0878 | 3630.5703 | 58152.3638 | 3056.515 | 369620.1221 | 1308.5369 | 60481 | 1267.8563 | 2 | 110.8392 | 212 | 22143.5738 | 507606.5738 | 1977.0869 | 24120.6607 | 3817.9495 | 2015 | 24120.6607 | 3817.9495 | 4.178% | 3.59%
2016 | 9796.1547 | 107 | 4016.8677 | 19608.3946 | 3673.7061 | 58779.2845 | 3102.1203 | 376449.323 | 1298.3218 | 60341 | 1271.5903 | 2 | 111.216 | 212 | 23269.9769 | 515499.002 | 1934.8694 | 25204.8462 | 3945.4082 | 2016 | 25204.8462 | 3945.4082 | 4.495% | 3.338%
2017 | 10622.0445 | 107 | 4110.6572 | 20427.3192 | 3698.9363 | 59421.1055 | 3158.3168 | 383440.8376 | 1282.5681 | 60181 | 1275.3353 | 2 | 111.5149 | 212 | 24259.3732 | 523791.2623 | 1947.9679 | 26207.3411 | 4088.893 | 2017 | 26207.3411 | 4088.893 | 3.977% | 3.637%
2018 | 11115.3241 | 109 | 4132.2645 | 20752.2822 | 3721.2499 | 60077.7233 | 3200.6151 | 390593.5373 | 1269.444 | 60005 | 1278.5237 | 2 | 111.8168 | 212 | 24829.2381 | 531751.5428 | 1950.0135 | 26779.2517 | 4162.1947 | 2018 | 26779.2517 | 4162.1947 | 2.182% | 1.793%
2019 | 11269.7867 | 110 | 4143.688 | 21354.5811 | 3742.7972 | 60735.5978 | 3251.6888 | 397759.9255 | 1263.2145 | 59873 | 1281.72 | 2 | 109.4589 | 212 | 25062.3541 | 540047.1044 | 1970.444 | 27032.7981 | 4197.6299 | 2019 | 27032.7981 | 4197.6299 | 0.9468% | 0.8514%
2020 | 11600.0994 | 110 | 4149.7185 | 21542.9058 | 3763.8476 | 61401.9618 | 3307.2136 | 405018.793 | 1257.527 | 59752 | 1284.9243 | 2 | 109.8521 | 212 | 25473.1824 | 548039.6606 | 1968.2491 | 27441.4315 | 4240.9615 | 2020 | 27441.4315 | 4240.9615 | 1.512% | 1.032%
2021 | 12078.4933 | 110 | 4161.2904 | 22133.8489 | 3784.1461 | 62077.5001 | 3373.7081 | 412377.5978 | 1255.0777 | 59637 | 1288.1366 | 2 | 110.164 | 212 | 26051.0163 | 556549.9468 | 1950.1579 | 28001.1742 | 4329.9572 | 2021 | 28001.1742 | 4329.9572 | 2.04% | 2.098%
2022 | 12468.9537 | 110 | 4181.0974 | 22724.7921 | 3803.452 | 62770.5343 | 3459.0404 | 419926.9905 | 1249.1474 | 59460 | 1291.3569 | 2 | 110.479 | 212 | 26563.5267 | 565206.3169 | 1962.973 | 28526.4997 | 4402.099 | 2022 | 28526.4997 | 4402.099 | 1.876% | 1.666%
2023 | 12521.6036 | 110 | 4216.8362 | 23315.7353 | 3821.8733 | 63400.5942 | 3554.9749 | 426790.3878 | 1232.5657 | 59263 | 1294.5853 | 2 | 110.7971 | 212 | 26753.2361 | 573093.7173 | 2006.2783 | 28759.5145 | 4436.0611 | 2023 | 28759.5145 | 4436.0611 | 0.8168% | 0.7715%
Growth
2001-2006 | 592.7578 | 22 | 635.716 | 3641 | 263.8651 | 3184 | 294.7221 | 34992 | -180.2165 | -1688 | -33.0263 | 0 | 4.9854 | 0 | 1578.8035 | 40151 | 342.884 | 1921.6875 | 345
2007-2012 | 3489.5616 | 8 | 816.6284 | 3599.9963 | 133.7834 | 3149.1169 | 229.0485 | 34304.1056 | -32.2967 | -764 | 18.1023 | 0 | 1.5591 | 0 | 4656.3868 | 40297.2189 | -30.9395 | 4625.4472 | 603.9035
Growth Rates (%)
2007 - 2012 | 1.673% | 5.095% | 4.566% | 5.132% | 1.565% | 1.165% | 2.137% | 2.126% | -2.872% | -0.5353% | -0.5187% | 8.811e-15% | 0.8968% | 1.164e-14% | 1.693% | 1.74% | 3.559% | 1.867% | 2.223%
1994 - 1999 | 3.212% | -0.752% | 5.224% | 3.178% | 1.187% | 0.555% | 1.47% | 0.9618% | -0.5608% | -1.094% | 0.3776% | 8.811e-15% | -2.759% | 0.2854% | 2.272% | 0.6613% | 0.05646% | 2.059% | 1.179%
2002 - 2012 | 2.439% | 2.13% | 4.894% | 4.15% | 1.376% | 0.8593% | 1.803% | 1.542% | -1.723% | -0.8149% | -0.07152% | 5.303e-14% | -0.9479% | 0.1426% | 1.982% | 1.199% | 1.793% | 1.963% | 1.7%
2013 -2018 | 7.827% | 1.536% | 4.502% | 3.884% | 0.735% | 1.083% | 1.496% | 1.855% | -0.5012% | -0.2527% | 0.2856% | 8.811e-15% | 0.2812% | 1.164e-14% | 4.241% | 1.589% | -0.3143% | 3.865% | 3.185%
2013 - 2023 | 5.084% | 0.8573% | 2.433% | 3.118% | 0.635% | 1.083% | 1.809% | 1.822% | -0.5446% | -0.2506% | 0.2678% | 5.303e-14% | 0.04882% | 4.797e-14% | 2.863% | 1.549% | 0.1271% | 2.644% | 2.229%
1.) All forecasted energy values are normalized to reflect 30-year average weather patterns.
2.) All forecasted Calendar Peak values are potential; peak shavings are not included. All historical peaks are actuals with peak shavings and interruptibles included.
3.) The demand side management (DSM) energy and peak demand saving as identified by SaskPower's DSM department are reflected in the forecast above.
4.) The number of accounts is the average for the year as required for rate design and revenue forecasting.
Note on AA16: rmacquarrie: ties to actual recorded peak, not potential; peak

## Grid_Energy
TABLE A2
2013 DSM ADJUSTED GRID ONLY LOAD FORECAST
FIRST QUARTER
ENERGY SALES AND NUMBER OF ACCOUNTS
| POWER |  | OILFIELDS |  | COMMERCIAL |  | RESIDENTIAL |  | FARM |  | RESELLER |  | CORPORATE USE |  | TOTAL SALES |  | LOSSES | TOTAL ENERGY
|  | # of |  | # of |  | # of |  | # of |  | # of |  | # of |  | # of |  | # of |  | REQUIREMENTS
Year | GWh | Accounts | GWh | Accounts | GWh | Accounts | GWh | Accounts | GWh | Accounts | GWh | Accounts | GWh | Accounts | GWh | Accounts | GWh | GWh
2002 | 5852.713 | 81 | 1970.219 | 10951 | 3064.594 | 51768 | 2439.147 | 299774 | 1366.869 | 67355 | 1262.796 | 2 | 125.357 | 207 | 16081.695 | 430138 | 1785.582 | 17867.277
2003 | 6273.9 | 85 | 2081.7966 | 11058 | 3132.8039 | 51977 | 2491.4 | 301905 | 1441.9212 | 67025 | 1287.3123 | 2 | 122.1 | 207 | 16831.234 | 432259 | 1677.4 | 18508.634
2004 | 6504.29 | 84 | 2164.822 | 11259 | 3114.421 | 52314 | 2465.773 | 304476 | 1349.814 | 66424 | 1260.735 | 2 | 110.996 | 210 | 16970.851 | 434769 | 1786.58 | 18757.431
2005 | 6552 | 78 | 2263.9 | 11508 | 3182.394 | 52410 | 2495.6 | 307212 | 1337 | 64985 | 1265.8 | 2 | 102.8 | 210 | 17199.494 | 436405 | 1674.584 | 18874.078
2006 | 6662.4 | 78 | 2399.3 | 12045 | 3231.719 | 52668 | 2513.44 | 308519 | 1271.7 | 64601 | 1293.5 | 2 | 108.443 | 210 | 17480.502 | 438123 | 1801.127 | 19281.629
2007 | 6854.9062 | 78 | 2541.447 | 12805 | 3261.0819 | 53235 | 2624.3532 | 314480 | 1328.9725 | 63751 | 1286.8203 | 2 | 108.834 | 210 | 18006.4151 | 444561 | 1791.4 | 19797.8151
2008 | 6894.9756 | 78 | 2704.9872 | 13453 | 3280.0062 | 53723 | 2701.5377 | 321367 | 1305.8177 | 62553 | 1274.2428 | 2 | 109.1423 | 210 | 18270.7095 | 451386 | 1879 | 20149.7095
2009 | 6138.7434 | 82 | 2742.5051 | 14174 | 3399.3405 | 54331 | 2844.7616 | 328003 | 1338.0734 | 61993 | 1274.43 | 2 | 107.1896 | 210 | 17845.0436 | 458795 | 1872.3277 | 19717.3713
2010 | 6926.6696 | 91 | 2871.326 | 14756 | 3383.6657 | 54745 | 2863.8383 | 333727 | 1291.5606 | 61404 | 1254.2526 | 2 | 106.8001 | 210 | 18698.1128 | 464935 | 1896.727 | 20594.8398
2011 | 7318.6504 | 97 | 2900.8276 | 15015 | 3439.979 | 55295 | 2986.4317 | 345207 | 1298.2984 | 60871 | 1260.6062 | 2 | 108.9372 | 210 | 19313.7304 | 476697 | 1914.2 | 21227.9304
2012 | 7447.664 | 100 | 3177.163 | 16446 | 3524.546 | 56392 | 2918.399 | 349336 | 1148.756 | 62063 | 1253.794 | 2 | 113.5983 | 210 | 19583.9203 | 484549 | 2134.8 | 21718.7203
2013 | 7625.7625 | 101 | 3315.636 | 17152.2859 | 3580.0539 | 56715.6064 | 2952.3918 | 355126.4316 | 1301.7407 | 60769 | 1260.4214 | 2 | 109.6698 | 210 | 20145.676 | 490076.3239 | 1979.3127 | 22124.9888
2014 | 8233.5951 | 100 | 3685.6681 | 17992.4395 | 3601.827 | 57320.8093 | 2994.2974 | 361719.0554 | 1305.251 | 60630 | 1264.1334 | 2 | 109.9591 | 210 | 21194.7311 | 497974.3042 | 1929.6655 | 23124.3966
2015 | 8829.6953 | 105 | 3939.5607 | 19034.0878 | 3623.1577 | 57939.3638 | 3037.3402 | 368457.1221 | 1308.5369 | 60481 | 1267.8563 | 2 | 110.2513 | 210 | 22116.3985 | 506228.5738 | 1975.4465 | 24091.8451
2016 | 9796.1547 | 107 | 4016.8677 | 19608.3946 | 3666.2935 | 58566.2845 | 3082.9455 | 375286.323 | 1298.3218 | 60341 | 1271.5903 | 2 | 110.6281 | 210 | 23242.8015 | 514121.002 | 1933.229 | 25176.0306
2017 | 10622.0445 | 107 | 4110.6572 | 20427.3192 | 3691.5237 | 59208.1055 | 3139.142 | 382277.8376 | 1282.5681 | 60181 | 1275.3353 | 2 | 110.927 | 210 | 24232.1979 | 522413.2623 | 1946.3276 | 26178.5255
2018 | 11115.3241 | 109 | 4132.2645 | 20752.2822 | 3713.8373 | 59864.7233 | 3181.4404 | 389430.5373 | 1269.444 | 60005 | 1278.5237 | 2 | 111.2289 | 210 | 24802.0628 | 530373.5428 | 1948.3732 | 26750.436
2019 | 11269.7867 | 110 | 4143.688 | 21354.5811 | 3735.3845 | 60522.5978 | 3232.514 | 396596.9255 | 1263.2145 | 59873 | 1281.72 | 2 | 108.871 | 210 | 25035.1788 | 538669.1044 | 1968.8037 | 27003.9825
2020 | 11600.0994 | 110 | 4149.7185 | 21542.9058 | 3756.4349 | 61188.9618 | 3288.0388 | 403855.793 | 1257.527 | 59752 | 1284.9243 | 2 | 109.2642 | 210 | 25446.007 | 546661.6606 | 1966.6088 | 27412.6158
2021 | 12078.4933 | 110 | 4161.2904 | 22133.8489 | 3776.7335 | 61864.5001 | 3354.5334 | 411214.5978 | 1255.0777 | 59637 | 1288.1366 | 2 | 109.5761 | 210 | 26023.841 | 555171.9468 | 1948.5176 | 27972.3585
2022 | 12468.9537 | 110 | 4181.0974 | 22724.7921 | 3796.0393 | 62557.5343 | 3439.8656 | 418763.9905 | 1249.1474 | 59460 | 1291.3569 | 2 | 109.8911 | 210 | 26536.3514 | 563828.3169 | 1961.3326 | 28497.684
2023 | 12521.6036 | 110 | 4216.8362 | 23315.7353 | 3814.4606 | 63187.5942 | 3535.8001 | 425627.3878 | 1232.5657 | 59263 | 1294.5853 | 2 | 110.2092 | 210 | 26726.0608 | 571715.7173 | 2004.638 | 28730.6988
Growth
2001 - 2006 | 592.7578 | 22 | 635.716 | 3641 | 263.4641 | 3157 | 294.0458 | 34856 | -180.2165 | -1688 | -33.0263 | 0 | 4.7644 | 0 | 1577.5052 | 39988 | 343.4 | 1920.9052
2007 - 2012 | 3489.5616 | 8 | 816.6284 | 3599.9963 | 133.7834 | 3149.1169 | 229.0485 | 34304.1056 | -32.2967 | -764 | 18.1023 | 0 | 1.5591 | 0 | 4656.3868 | 40297.2189 | -30.9395 | 4625.4472
Growth Rates (%)
2007 - 2012 | 1.673% | 5.095% | 4.566% | 5.132% | 1.566% | 1.159% | 2.147% | 2.125% | -2.872% | -0.5353% | -0.5187% | 8.811e-15% | 0.8606% | 1.98e-14% | 1.694% | 1.738% | 3.57% | 1.869%
2001 - 2006 | 3.212% | -0.752% | 5.224% | 3.178% | 1.251% | 0.5604% | 1.474% | 0.9624% | -0.5608% | -1.094% | 0.3776% | 8.811e-15% | -2.787% | 0.2882% | 2.287% | 0.6618% | 0.06508% | 2.073%
2002 - 2012 | 2.439% | 2.13% | 4.894% | 4.15% | 1.408% | 0.8592% | 1.81% | 1.542% | -1.723% | -0.8149% | -0.07152% | 5.303e-14% | -0.9801% | 0.144% | 1.99% | 1.198% | 1.802% | 1.971%
2013 -2018 | 7.827% | 1.536% | 4.502% | 3.884% | 0.7365% | 1.087% | 1.506% | 1.861% | -0.5012% | -0.2527% | 0.2856% | 8.811e-15% | 0.2827% | 1.98e-14% | 4.246% | 1.593% | -0.3146% | 3.87%
2013 - 2023 | 5.084% | 0.8573% | 2.433% | 3.118% | 0.6362% | 1.086% | 1.82% | 1.827% | -0.5446% | -0.2506% | 0.2678% | 5.303e-14% | 0.04908% | 6.457e-14% | 2.867% | 1.553% | 0.1272% | 2.647%
1.) All forecasted energy values are normalized to reflect 30-year average weather patterns.
2.) The demand side management (DSM) energy and peak demand saving as identified by SaskPower's DSM department are reflected in the forecast above.
3.) The number of accounts is the average for the year as required for rate design and revenue forecasting.
Note on B11: rmacquarrie: removal of co2, mobil, pan cdn to oil plus former power customers in commercial
Note on E11: rmacquarrie: +co2,mobil, pan cdn from power (115.408)+remainder from comm not in power class
Note on G11: rmacquarrie: less non grid less former power customers previously counted in commercial
Note on G12: rmacquarrie: comm+stl-nongrid

## NonGrid_Energy
TABLE A3
2013 NON - GRID LOAD FORECAST
FIRST QUARTER
ENERGY SALES AND NUMBER OF ACCOUNTS
| COMMERCIAL |  | RESIDENTIAL |  | CORPORATE USE |  | TOTAL SALES |  | LOSSES | 1) | TOTAL ENERGY
|  | # of |  | # of |  | # of |  | # of |  |  | REQUIREMENTS
Year | GWh | Accounts | GWh | Accounts | GWh | Accounts | GWh | Accounts | GWh |  | GWh
2002 | 16.3302 | 195 | 17.7729 | 989 | 0.2398 | 2 | 34.3429 | 1186 | 3.761 |  | 38.1039
2003 | 17.732 | 198 | 17.5396 | 992 | 0.2447 | 2 | 35.5163 | 1192 | 4.4 |  | 39.9163
2004 | 17.811 | 194 | 18.069 | 996 | 0.314 | 2 | 36.194 | 1192 | 4.105 |  | 40.299
2005 | 17.706 | 194 | 18.2 | 1009 | 0.3216 | 2 | 36.2276 | 1205 | 1.816 |  | 38.0436
2006 | 7.059 | 201 | 17.06 | 1032 | 0.357 | 2 | 24.476 | 1235 | 2.373 |  | 26.849
2007 | 7.012 | 186 | 18.4987 | 1027 | 0.367 | 2 | 25.8777 | 1215 | 3 |  | 28.8777
2008 | 6.98 | 188 | 19.642 | 1041 | 0.305 | 2 | 26.927 | 1231 | 3.666 |  | 30.593
2009 | 7.496 | 194 | 20.023 | 1043 | 0.39 | 2 | 27.909 | 1239 | 2.921 |  | 30.83
2010 | 7.263 | 200 | 18.572 | 1053 | 0.369 | 2 | 26.204 | 1255 | 2.373 |  | 28.577
2011 | 7.481 | 206 | 19.543 | 1105 | 0.38 | 2 | 27.404 | 1313 | 1.962 |  | 29.366
2012 | 7.413 | 213 | 19.175 | 1163 | 0.588 | 2 | 27.176 | 1378 | 2.484 |  | 29.66
2013 | 7.4126 | 213 | 19.1748 | 1163 | 0.5879 | 2 | 27.1753 | 1378 | 1.6403 |  | 28.8157
2014 | 7.4126 | 213 | 19.1748 | 1163 | 0.5879 | 2 | 27.1753 | 1378 | 1.6403 |  | 28.8157
2015 | 7.4126 | 213 | 19.1748 | 1163 | 0.5879 | 2 | 27.1753 | 1378 | 1.6403 |  | 28.8157
2016 | 7.4126 | 213 | 19.1748 | 1163 | 0.5879 | 2 | 27.1753 | 1378 | 1.6403 |  | 28.8157
2017 | 7.4126 | 213 | 19.1748 | 1163 | 0.5879 | 2 | 27.1753 | 1378 | 1.6403 |  | 28.8157
2018 | 7.4126 | 213 | 19.1748 | 1163 | 0.5879 | 2 | 27.1753 | 1378 | 1.6403 |  | 28.8157
2019 | 7.4126 | 213 | 19.1748 | 1163 | 0.5879 | 2 | 27.1753 | 1378 | 1.6403 |  | 28.8157
2020 | 7.4126 | 213 | 19.1748 | 1163 | 0.5879 | 2 | 27.1753 | 1378 | 1.6403 |  | 28.8157
2021 | 7.4126 | 213 | 19.1748 | 1163 | 0.5879 | 2 | 27.1753 | 1378 | 1.6403 |  | 28.8157
2022 | 7.4126 | 213 | 19.1748 | 1163 | 0.5879 | 2 | 27.1753 | 1378 | 1.6403 |  | 28.8157
2023 | 7.4126 | 213 | 19.1748 | 1163 | 0.5879 | 2 | 27.1753 | 1378 | 1.6403 |  | 28.8157
Growth
2001 - 2006 | 0.401 | 27 | 0.6763 | 136 | 0.221 | 0 | 1.2983 | 163 | -0.516 |  | 0.7823
2007 - 2012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Growth Rates (%)
2007 - 2012 | 1.118% | 2.748% | 0.7207% | 2.518% | 9.886% | 8.811e-15% | 0.9839% | 2.55% | -3.704% |  | 0.536%
2001 - 2006 | -15.56% | -0.9406% | 0.8037% | 0.7569% | 8.884% | 8.811e-15% | -5.503% | 0.4843% | -4.421% |  | -5.394%
2002 - 2012 | -7.594% | 0.8868% | 0.7622% | 1.634% | 9.384% | 5.303e-14% | -2.313% | 1.512% | -4.063% |  | -2.474%
2013 -2018 | 1.312e-14% | 1.235e-14% | 1.073e-14% | 3.083e-15% | 1.578e-14% | 8.811e-15% | 2.412e-14% | 2.197e-14% | 1.786e-15% |  | 1.18e-14%
2013 - 2023 | 6.179e-14% | 5.2e-14% | 5.942e-14% | 5.238e-14% | 4.879e-14% | 5.303e-14% | 5.615e-14% | 6.658e-14% | 6.341e-14% |  | 5.527e-14%
1) Losses are calculated by taking the difference between Total Energy Requirements and Total Sales. The Total Sales and Total Energy Requirements are forecasted numbers.

## DSM Summary
TABLE A4
2013 GRID ONLY LOAD FORECAST
FIRST QUARTER
Summary of Base and DSM Adjusted Forecasts
|  | Grid Only Energy Requirements (GWh) |  |  |  |  | Interval Calender Peak (MW) |  |  |  |  | Instantaneous | Demand
| Year | Base | Add To-date | Base Forecast | DSM | DSM | Base | Add To-date | Base Forecast | DSM | DSM | Calender Peak | Response
|  | Forecast | DSM Savings | Plus To-date | Savings | Adjusted | Forecast | DSM Savings | Plus To-date | Savings | Adjusted | (MW) | Available (MW)
| 2013 | 22153.9523 | 111.527 | 22265.4793 | 140.4905 | 22124.9888 | 3486.6139 | 50 | 3536.6139 | 58.7575 | 3477.8564 | 3558.2912 | 85
| 2014 | 23182.3236 | 111.527 | 23293.8506 | 169.5 | 23124.4 | 3619.7828 | 50 | 3669.7828 | 67.4645 | 3602.3182 | 3685.6315 | 85
| 2015 | 24178.753 | 111.527 | 24290.28 | 198.4 | 24091.8 | 3757.8155 | 50 | 3807.8155 | 76.1703 | 3731.6452 | 3817.9495 | 85
| 2016 | 25292.8651 | 111.527 | 25404.3921 | 228.4 | 25176 | 3891.5819 | 50 | 3941.5819 | 85.3593 | 3856.2227 | 3945.4082 | 85
| 2017 | 26324.3664 | 111.527 | 26435.8934 | 257.4 | 26178.5 | 4040.4129 | 50 | 4090.4129 | 93.9489 | 3996.464 | 4088.893 | 85
| 2018 | 26929.8026 | 111.527 | 27041.3296 | 290.9 | 26750.4 | 4121.454 | 50 | 4171.454 | 103.3452 | 4068.1088 | 4162.1947 | 85
| 2019 | 27215.3006 | 111.527 | 27326.8276 | 322.8 | 27004 | 4165.5087 | 50 | 4215.5087 | 112.7658 | 4102.7429 | 4197.6299 | 85
| 2020 | 27656.2257 | 111.527 | 27767.7527 | 355.1 | 27412.6 | 4217.2699 | 50 | 4267.2699 | 122.1748 | 4145.0951 | 4240.9615 | 85
| 2021 | 28248.609 | 111.527 | 28360.136 | 387.8 | 27972.4 | 4313.6744 | 50 | 4363.6744 | 131.5954 | 4232.079 | 4329.9572 | 85
| 2022 | 28806.6133 | 111.527 | 28918.1403 | 420.5 | 28497.7 | 4393.5981 | 50 | 4443.5981 | 141.008 | 4302.5901 | 4402.099 | 85
| 2023 | 29072.3363 | 111.527 | 29183.8633 | 453.2 | 28730.7 | 4436.2071 | 50 | 4486.2071 | 150.4 | 4335.8 | 4436.1 | 85
Notes:
- DSM savings includes distribution loss savings.
- DSM savings do not include savings associated with the Internal Line Program.
2009 Q3 Load Forecast - Summary of Base and DSM Adjusted Forecasts
|  | Grid Only Energy Requirements (GWh) |  |  |  |  | Grid Only Calender Peak (MW)
| Year | Base | Add To-date | Base Forecast | DSM | DSM | Base | Add To-date | Base Forecast | DSM | DSM
|  | Forecast | DSM Savings | Plus To-date | Savings | Adjusted | Forecast | DSM Savings | Plus To-date | Savings | Adjusted
| 2010 | 21039.0203 | 0 | 21039.0203 | 80 | 20959.0203 | 3312.6974 | 0 | 3312.6974 | 29 | 3283.6974 |  | 8.7575 | 20.2425
| 2011 | 22062.7865 | 0 | 22062.7865 | 113 | 21949.7865 | 3426.59 | 0 | 3426.59 | 39 | 3387.59 |  | 13.9024 | 25.0976
| 2012 | 22861.6941 | 0 | 22861.6941 | 161 | 22700.6941 | 3532.2475 | 0 | 3532.2475 | 51 | 3481.2475 |  | 18.8659 | 32.1341
| 2013 | 24310.4469 | 0 | 24310.4469 | 212 | 24098.4469 | 3713.5903 | 0 | 3713.5903 | 62 | 3651.5903 |  | 16.9794 | 45.0206
| 2014 | 25322.6734 | 0 | 25322.6734 | 251 | 25071.6734 | 3854.7323 | 0 | 3854.7323 | 71 | 3783.7323 |  | -19.6222 | 90.6222
#REF! | 2015 | 26484.9016 | 0 | 26484.9016 | 293 | 26191.9016 | 3999.0613 | 0 | 3999.0613 | 80 | 3919.0613 |  | 1.4956 | 78.5044
| 2016 | 27057.6332 | 0 | 27057.6332 | 332 | 26725.6332 | 4073.9391 | 0 | 4073.9391 | 90 | 3983.9391 |  | 18.2615 | 71.7385
| 2017 | 27391.384 | 0 |  | 369 | -369 | 4141.6426 | 0 | 4141.6426 | 99 | 4042.6426 |  | 28.7302 | 70.2698
| 2018 | 28135.9546 | 0 |  | 369 | -369 | 4263.3006 | 0 | 4263.3006 | 99 | 4164.3006 |  | 21.7225 | 77.2775
| 2019 | 28537.4153 | 0 |  | 369 | -369 | 4317.6786 | 0 | 4317.6786 | 99 | 4218.6786 |  | 24.0107 | 74.9893
| 2020 | 29209.3334 | 0 | 29209.3334 | 369 | 28840.3334 | 4408.5266 | 0 | 4408.5266 | 99 | 4309.5266 |  | 33.1241 | 65.8759
2010 Q1 - 2009 Q3 Load Forecast - Summary of Base and DSM Adjusted Forecasts
|  | Grid Only Energy Requirements (GWh) |  |  |  |  | Grid Only Calender Peak (MW)
| Year | Base | Add To-date | Base Forecast | DSM | DSM | Base | Add To-date | Base Forecast | DSM | DSM
|  | Forecast | DSM Savings | Plus To-date | Savings | Adjusted | Forecast | DSM Savings | Plus To-date | Savings | Adjusted
| 2010 | 1114.9319 | 111.527 | 1226.4589 | 60.4905 | 1165.9684 | 173.9165 | 50 | 223.9165 | 29.7575 | 194.159 |  | 20.2425 | 20.2425
| 2011 | 1091.0671 | 111.527 | 1202.5941 | 27.984 | 1174.6101 | 189.6306 | 50 | 239.6306 | 24.9024 | 214.7282 |  | 25.0976 | 25.0976
| 2012 | 1261.3243 | 111.527 | 1372.8513 | -18.2996 | 1391.1509 | 218.2636 | 50 | 268.2636 | 17.8659 | 250.3977 |  | 32.1341 | 32.1341
| 2013 | 837.7692 | 111.527 | 949.2962 | -128.2874 | 1077.5836 | 159.6117 | 50 | 209.6117 | 4.9794 | 204.6323 |  | 45.0206 | 45.0206
| 2014 | 498.1721 | 111.527 | 609.6991 | -497.153 | 1106.8521 | 122.1095 | 50 | 172.1095 | -40.6222 | 212.7317 |  | 90.6222 | 90.6222
| 2015 | 35.9435 | 111.527 | 147.4705 | -411.0639 | 558.5344 | 70.5431 | 50 | 120.5431 | -28.5044 | 149.0475 |  | 78.5044 | 78.5044
| 2016 | -191.7029 | 111.527 | -80.1759 | -358.5251 | 278.3492 | 47.0653 | 50 | 97.0653 | -21.7385 | 118.8038 |  | 71.7385 | 71.7385
| 2017 | -76.9958 | 111.527 | 27425.9152 | -355.7006 | 27781.6158 | 32.1826 | 50 | 82.1826 | -20.2698 | 102.4525 |  | 70.2698 | 70.2698
| 2018 | -359.5472 | 111.527 | 27887.9343 | -453.4242 | 28341.3585 | -9.4991 | 50 | 40.5009 | -27.2775 | 67.7784 |  | 77.2775 | 77.2775
| 2019 | -259.9436 | 111.527 | 28388.9987 | -477.6854 | 28866.684 | 8.9222 | 50 | 58.9222 | -24.9893 | 83.9115 |  | 74.9893 | 74.9893
| 2020 | -668.044 | 111.527 | -556.517 | -446.8824 | -109.6346 | -39.6181 | 50 | 10.3819 | -15.8759 | 26.2578 |  | 65.8759 | 65.8759